## Slide 1: LJ-V7000 Get/Set Settings via DLL
KEYENCE
6/17/2014

## Slide 2: Measurements in LJ-Navigator2
16 Measurements are saved within each program
16 Programs can be saved on the LJ-V7000 controller

## Slide 3: Measurements Modes
Note how these measurement modes line up with 2nd byte on the following slide.

## Slide 4: Measurement Settings
Pg. 72
Every measurement contains a variety of additional parameters such as Measurement Mode, Target, Tolerances, etc.

## Slide 5: Corresponding DLL Results
1
2
3
4
5
*Results to be elaborated upon in following slides.

## Slide 6: Function To Get Settings
Pg. 33

## Slide 7: The Important Struct
Pg. 11
Note how these line up with the variables shown in Slide 5

## Slide 8: Understanding The Layout
[1] is the setting depth which is defined above.
  Typically when getting settings, 0x01 is used as it is the currently running configuration.
Pg. 7

## Slide 9: Understanding The Layout
[2] is the setting type which is which program to read/write to.
  We want to read from program 0 so we entered 0x10
[3] defines which category to read/write from.
  We will use 0x06 which is the “OUT Settings” category
[4] defines the specific item to get/set.
  We will use 0x03 because we wish to obtain the measurement mode.
[5] defines which output to get/set the parameters.
  We will use 0x00 because we wish to get the measurement mode of OUT 0 from Program 0
Pg. 72

## Slide 10: Understanding the Layout
The results were:
  03 01 00 00
Byte 1 > 03 > 0.001mm as the Minimum display unit
Byte 2 > 01 > Height measurement mode
Byte 3-4 > Reserved
Pg. 72

## Slide 11: Getting Additional Information
We simply asked for more data back which included additional information about the height measurement.
Pg. 73

## Slide 12: Changing Settings
Pg. 32
You’ll notice it is many of the same parameters as discussed before.

## Slide 13: Changing Measurement Target
Pg. 49
Using this method ensures that the settings will be persistent through power cycles.

## Slide 14: Changing Measurement Target
For the sake of simplicity here, we will change the trigger mode to “External Trigger”
Setting Depth: 0x00
Setting Type: 0x10
Category: 0x00
Setting Item: 0x01
Setting Target 1: 0x00
Setting Target 2: 0x00
Setting Target 3: 0x00
Setting Target 4: 0x00
Buffer size: 1 byte
Data: 0x01
Or
Buffer size: 4 byte
Data: 0x01,0x00,0x00,0x00
Pg. 62

## Slide 15: Reflect Settings From Write Area
Pg. 34